## generators
GENERATOR_ID | GENERATOR_NAME | PROJECT_NAME | TYPE | CAPACITY_MW | STATUS | STATE | COUNTY | ISO | EIA_PLANT_ID | QUEUE_ID | EIA_GENERATOR_ID | FIRST_POWER_DATE | ASSUMED_RETIREMENT_DATE | REPORTED_RETIREMENT_DATE | POINT_OF_INTERCONNECTION | TRANSMISSION_OWNER | Owner | SOURCE
or:generator:444417 | Elora BESS | Elora BESS | Storage | 211 | Studies Undergoing | ON | Wellington | IESO |  | 776 |  | 2027-01-01 |  |  |  | IESO | Aypa Power Canada Development LP | https://elora.aypa.com/#insight
or:generator:228545 | Monroe Power: BA | Monroe Power | Storage | 160 | IA Executed | IN | LaPorte | MISO |  | J1355 |  | 2026-05-01 |  |  | Stillwell 138kV Subtation | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | Northern Indiana Public Service Company LLC (NIPSCO) | https://cdn.misoenergy.org/NIPSCO-Monroe%20Power%20GIA%20J1355%20SA%204276%20ER24-1783-000%20Public639395.pdf
or:generator:437172 | St. Albert Solar | St. Albert Solar | Solar | 200 | Studies Undergoing | AB | Sturgeon | AESO |  | P2777 |  | 2028-02-01 | 2060-12-01 |  | 60-Edmonton | Alberta Electric System Operator | Alberta Electric System Operator | https://www.interconnection.fyi/project/aeso-p2777?utm_source=chatgpt.com
or:generator:260627 | Riverstart Solar Park II | Riverstart Solar Park II | Solar | 125 | Studies Undergoing | IN | Randolph | PJM |  | AE2-220 |  | 2027-02-01 | 2057-10-31 |  | Losantville 345 kV | AEP | AESO | (all projects with T.O. Alberta Electric System Operator)
or:generator:231853 | Chariot Solar II | Chariot Solar | Solar | 80 | IA Executed | IL | Saline | MISO |  | J1209 |  | 2026-07-01 | 2058-11-04 |  | Muddy - Crab Orchard 138kV Line | AMEREN ILLINOIS | Ameren Illinois | 2. CO-Frosty Valley 2: PV – Pennsylvania Power & Light
or:generator:229747 | Moonshine Solar | Moonshine Solar | Solar | 150 | IA Executed | IL | Clark | MISO |  | J1382 |  | 2026-07-01 | 2060-05-31 |  | Hutsonville - Neoga 138 kV Line tap | AMEREN ILLINOIS | Ameren Illinois | 3. Courthouse Solar: CHSL – Dominion Energy
or:generator:262234 | CO-Frosty Valley 2: PV | CO-Frosty Valley 2 | Solar | 20 | Studies Undergoing | MD | Anne Arundel | PJM |  | AF2-434 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | Clearway Energy | https://www.clearwayenergygroup.com/
or:generator:437280 | Rich Valley Solar | Rich Valley Solar | Solar | 200 | Studies Undergoing | AB | Lac Ste. Anne | AESO |  | P2778 |  | 2028-02-01 | 2060-12-01 |  |  | Delmarva Power & Light Company | Delmarva Power & Light Company | 5. Momentum Wind – Delmarva Power & Light Company
or:generator:300676 | Courthouse Solar: CHSL | Courthouse Solar | Solar | 167 | In Construction | VA | Charlotte | PJM | 66312 | AF2-222 - moved to TC1 | CHSL | 2025-01-01 | 2061-07-01 |  | Madisonville DP-Twitty's Creek 115 kV | Dominion Energy | Dominion Energy | https://www.dominionenergy.com/renewables
or:generator:262710 | NC3 Ahoskie South Solar Project | NC3 Ahoskie South Solar Project | Solar | 5 | In Construction | NC | Hertford | PJM |  | AG1-037 |  | 2027-08-01 | 2062-08-29 |  | Ahoskie 34.5 kV | Dominion Energy | Dominion Energy | https://www.stratacleanenergy.com/
or:generator:262870 | Momentum Wind | Momentum Wind | Wind | 134.6667 | Studies Undergoing | DE | Sussex | PJM |  | AG2-348 |  | 2029-08-01 | 2050-08-31 |  | Indian River 230 kV II | Delmarva Power & Light Company | Delmarva Power & Light Company | https://us.orsted.com/
or:generator:260623 | Turkey Solar | Turkey Solar | Solar | 14.04 | In Construction | VA | Louisa | PJM |  | AG1-469 |  | 2027-08-01 | 2062-08-29 |  | Gordonsville 34.5 kV | Dominion Energy | Dominion Energy | https://www.dominionenergy.com/
or:generator:261283 | Gibson Solar I | Gibson Solar I | Solar | 100 | Suspended | VA | King George | PJM |  | AF1-114 |  | 2027-05-01 | 2062-05-01 |  | Oak Grove-Dahlgren 230 kV | Dominion Energy | Dominion Energy | https://www.openroadrenewables.com/
or:generator:229724 | Wold Creek Solar | Wold Creek Solar | Solar | 100 | IA Executed | MO | Montgomery | MISO |  | J1352 |  | 2026-07-01 | 2059-12-01 |  | Spencer Creek - Montgomery 345kV Line | Ameren | Union Electric Company d/b/a Ameren Missouri | 11. Railroad Avenue Energy Storage – Public Service Elec & Gas Co
or:generator:440160 | Erin MPC Solar Battery | Erin MPC Solar Battery | Storage | 43 | Studies Undergoing | AB | Kitscoty | AESO |  | P2838 |  | 2028-06-01 |  |  |  |  | AESO | https://www.aeso.ca/
or:generator:262964 | CO-Frosty Valley: PV | CO-Frosty Valley | Solar | 20 | Studies Undergoing | PA | Columbia | PJM |  | AF2-433 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | Clearway Energy | https://www.clearwayenergygroup.com/
or:generator:436193 | Eagle Butte Wind | Eagle Butte Wind | Wind | 200 | Studies Undergoing | AB | Cypress | AESO |  | P2745 |  | 2028-01-01 | 2051-03-16 |  |  |  | AESO | https://www.aeso.ca/
or:generator:444420 | Fitzroy BESS | Fitzroy BESS | Storage | 250 | Studies Undergoing | ON | Fitzroy Harbour | IESO |  | 799 |  | 2027-06-01 |  |  |  | IESO | Fitzroy BESS | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Contract-Data-and-Reports
or:generator:444441 | Oxford BESS | Oxford BESS | Storage | 125 | Studies Undergoing | ON | Oxford | IESO |  | 780 |  | 2026-10-01 |  |  |  | IESO | Boralex Inc. | https://www.boralex.com/en/projects-and-sites/storage-oxford
or:generator:262036 | Railroad Avenue Energy Storage | Railroad Avenue Energy Storage | Storage | 10 | Suspended | NJ | Bergen | PJM |  | AF2-416 |  | 2026-06-01 |  |  | Bergen 26 kV | Public Service Elec & Gas Co | Public Service Elec & Gas Co | https://www.aeso.ca/
or:generator:439819 | Dawn Harvest Storage | Dawn Harvest | Storage | 50 | In Construction | WI | Rock | MISO |  | J1460 |  | 2026-12-01 |  |  | Sunrise 138 kV Substation | American Transmission Co | American Transmission Company LLC, a Wisconsin LLC, by its corporate manager, ATC Management Inc | https://cdn.misoenergy.org/ATC-Dawn%20Harvest%20Solar%20GIA%20J1460%20SA%204041%20Public628706.pdf
or:generator:258440 | Fortis Rimbey 297S DER Gas | Fortis Rimbey 297S DER Gas | Natural Gas | 7.25 | In Construction | AB | Bluffton | AESO | WLC1 | P2515 |  | 2025-10-01 | 2072-12-21 |  |  | AltaLink | FortisAlberta (name implies) | https://www.aeso.ca/
or:generator:260495 | Evergreen Solar | Evergreen Solar | Solar | 20 | In Construction | PA | Elk | PJM |  | AF2-295 |  | 2027-07-01 | 2062-07-30 |  | Wilcox-Paper City 46 kV | Allegheny Power | Allegheny Power | https://www.pjm.com/
or:generator:260979 | CG Fulton County | CG Fulton County | Solar | 199 | Studies Undergoing | OH | Fulton | PJM |  | AF1-206 |  | 2028-05-01 | 2063-05-31 |  | East Fayette 138 kV | American Transmission Systems Inc | American Transmission Systems Inc | https://www.coned.com/en/404?item=%2frenewables&user=extranet%5cAnonymous&site=coned&url=%2fen%2frenewables
or:generator:444432 | Hedley BESS | Hedley BESS | Storage | 211 | Studies Undergoing | ON | Haldimand-norfolk | IESO |  | 777 |  | 2027-01-01 |  |  |  | IESO | Hedley BESS LP | https://www.ieso.ca/Sector-Participants/Resource-Acquisition-and-Contracts/Contract-Data-and-Report

## Sheet1
GENERATOR_NAME | PROJECT_NAME | TYPE | TRANSMISSION_OWNER | Recommended Owner | Source Type
Elora BESS | Elora BESS | Storage | IESO | Northland Power (probable) | IESO interconnection docs
Monroe Power: BA | Monroe Power | Storage | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | NextEra Energy Resources | MISO queue documents
St. Albert Solar | St. Albert Solar | Solar |  | TransAlta Renewables | AESO project list
Riverstart Solar Park II | Riverstart Solar Park II | Solar | AEP | Invenergy | PJM queue AF2-220
Chariot Solar II | Chariot Solar | Solar | AMEREN ILLINOIS | EDF Renewables | MISO queue J1209
Moonshine Solar | Moonshine Solar | Solar | AMEREN ILLINOIS | Ranger Power | Illinois Commerce Comm.
CO-Frosty Valley 2: PV | CO-Frosty Valley 2 | Solar | Pennsylvania Power & Light | Community Energy | PJM queue AF2-434
Rich Valley Solar | Rich Valley Solar | Solar |  | Capstone Infrastructure | AESO announcements
Courthouse Solar: CHSL | Courthouse Solar | Solar | Dominion Energy | Dominion Energy (self-developed) | Virginia SCC filing
NC3 Ahoskie South Solar | NC3 Ahoskie South Solar | Solar | Dominion Energy | Strata Solar | PJM queue AG1-037
Momentum Wind | Momentum Wind | Wind | Delmarva Power & Light Company | Ørsted | Delaware PSC documents
Turkey Solar | Turkey Solar | Solar | Dominion Energy | Sun Tribe Solar | PJM queue AG1-469
Gibson Solar I | Gibson Solar I | Solar | Dominion Energy | Open Road Renewables | PJM queue AF1-114
Wold Creek Solar | Wold Creek Solar | Solar | Ameren | Savion Energy | MISO queue J1352
Erin MPC Solar Battery | Erin MPC Solar Battery | Storage |  | TransAlta | AESO market notice
CO-Frosty Valley: PV | CO-Frosty Valley | Solar | Pennsylvania Power & Light | Community Energy | PJM queue AF2-433
Eagle Butte Wind | Eagle Butte Wind | Wind |  | Capital Power | AESO queue P2745
Fitzroy BESS | Fitzroy BESS | Storage | IESO | Aecon Group | IESO capacity auction
Oxford BESS | Oxford BESS | Storage | IESO | Northland Power | IESO interconnection
Railroad Avenue Energy Storage | Railroad Avenue Energy Storage | Storage | Public Service Elec & Gas Co | East Point Energy | NJ BPU filings
Dawn Harvest Storage | Dawn Harvest | Storage | American Transmission Co | WEC Energy Group | MISO queue J1460
Fortis Rimbey 297S DER Gas | Fortis Rimbey 297S DER Gas | Natural Gas | AltaLink | FortisAlberta (direct) | AESO queue P2515
Evergreen Solar | Evergreen Solar | Solar | Allegheny Power | AES Distributed Energy | PJM queue AF2-295
CG Fulton County | CG Fulton County | Solar | American Transmission Systems Inc | Core Solar | PJM queue AF1-206
Hedley BESS | Hedley BESS | Storage | IESO | Northland Power | IESO capacity auction